{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Faq"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Faq","index":0,"n_rows":2,"n_cols":3,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["N.ro","Domanda","Risposta"]
[1,"BUONGIORNO, GRADIREMMO SAPERE SE PER L'INCASTELLATURA PORTANTE DA INSTALLARE IN ZONA SISMICA CAT. 3 (SUSA) E' CONSENTITO L'ANCORAGGIO DELLA STESSA AI SOLAI COME DA VS. DESCRIZIONE TECNICA. CORDIALI SALUTI","l’incastellatura portante deve essere indipendente e quindi non ancorata ai solai nel palazzo sede del municipio e nel palazzo sede dell’Ufficio Tecnico, rispettivamente ubicati n Via Palazzo di Città 39 e 8. Per quanto riguarda invece il palazzo sede dell’Ex Tribunale sito in Via Palazzo di Città 36, l’incastellatura sarà da inserire nel vano scala."]